## Slide 1: Experiment Design

## Slide 2: Motivation
Multiple observer metamerism failure indices (OMFIs)
Adjustable parameters in OMFIs
  White point for DE2000
  DE2000 or DEITP
  Central tendency or dispersion of errors as final output
Similar to experiments underlying DE2000
  DE2000(CIELab1, CIELab2)
  OMFI(SPD1, SPD2)

## Slide 3: Experiment Basics
Goal: collect data needed to determine which OMFI matches our real world experience
4-6 displays with differing emission spectra
  Preferably include a laser projector
30+ observers
  Professionals with color evaluation experience
Dark or dim surround
Spectrometers
  Preferably 1 for each display

## Slide 4: Experimental Setup (Side View)

## Slide 5: Experimental Setup (Top View)

## Slide 6: Experimental Procedure
Explanation of the experiment goals and collection of observer data
Adaptation period
Training session
Main experiment loop – repeated until all evaluations are completed
  Automatic patch adjustment to match desired CIE 31 XYZ (Optional)
  Stimulus presentation
  User input recording
  Patch spectra measurement (Optional)
  Short pause in stimuli presentation

## Slide 7: Experimental Procedure – Input Recording

## Slide 8: Data Fitting – Logistic Regression Using MLE
OMFI1
OMFI2
Observer
Score
Bad Fit
Good Fit

## Slide 9: Fit Evaluation
Use several quality of fit measures:
  Pearson Correlation
  Spearman Rank Test
  Wald test
  Likelihood-ratio test
Suggest the best performing OMFI as the preferred one